SPECIFICATIONS FOR 12V/80A BATTERY CHARGER

1. Model no                              :      UE-BC-15.

2. Mains input                           :      230V, ±10%, 50Hz, Single phase.

3. Line Regulation                      :      ±0.1% max. Output Voltage for ± 10% change

in mains Input Voltage.

4. Load Regulation                     :      ±0.1% max. Output Voltage for No-load

to full load or Vice-versa.

5. Ripple                                   :      Less than 100mV R.M.S.

6. Protections                            :      a) Unit is protected by input fuse,

b) Unit is protected against input surges,

c) Output is protected against over loads &

Continuous short circuits.

7. Indication(s)                         :      a) One LED for input,

b) One LED each for output,

c) One 3½ digit digital panel meter is

provided to read output voltage,

d) One 3½ digit digital panel meter is

provided to read output current.

8. Controls                                :      One ON/OFF switch to ON/OFF the Unit.

9. Mechanical                            :       Bench top / 19” Rack Mounting as

Required by you.

10. Cooling                               :       Forced air cooling.

11. Operating Environment          :      0°C to +50°C

12.  Terminals                            :      Banana socket(s) at front panel.

SPECIFICATIONS FOR 12V/24V/10A SMPS BATTERY CHARGER

1. Model no                              :      UE-BC-05A.

2. Mains input                           :      230V, ±10%, 50Hz, Single phase.

3. Line Regulation                      :      ±0.1% max. Output Voltage for ± 10% change

in mains Input Voltage.

4. Load Regulation                     :      ±0.1% max. Output Voltage for No-load

to full load or Vice-versa.

5. Ripple                                   :      Less than 100mV R.M.S.

6. Protections                            :      a) Unit is protected by input fuse,

b) Unit is protected against input surges,

c) Output is protected against over loads &

Continuous short circuits.

7. Indication(s)                         :      a) One LED for input,

b) One LED each for output,

c) One 3½ digit digital panel meter is

provided to read output voltage,

d) One 3½ digit digital panel meter is

provided to read output current.

8. Controls                                :      One ON/OFF switch to ON/OFF the Unit.

9. Mechanical                            :       Bench top / 19” Rack Mounting as

Required by you.

10. Cooling                               :       Forced air cooling.

11. Operating Environment          :      0°C to +50°C

12.  Terminals                            :      Banana socket(s) at front panel.

SPECIFICATIONS FOR 12V/200A BATTERY CHARGER

1. Model no                              :      UE-BC-007.

2. Mains input                           :      230V, ±10%, 50Hz, Single phase.

3. Line Regulation                      :      ±0.1% max. Output Voltage for ± 10% change

in mains Input Voltage.

4. Load Regulation                     :      ±0.1% max. Output Voltage for No-load

to full load or Vice-versa.

5. Ripple                                   :      Less than 100mV R.M.S.

6. Protections                            :      a) Unit is protected by input fuse,

b) Unit is protected against input surges,

c) Output is protected against over loads &

Continuo’s short circuits.

7. Indication(s)                         :      a) One LED for input,

b) One LED each for output,

c) One 3½ digit digital panel meter is

provided to read output voltage,

d) One 3½ digit digital panel meter is

provided to read output current.

8. Controls                                :      One ON/OFF switch to ON/OFF the Unit.

9. Mechanical                            :       Bench top / 19” Rack Mounting as

required by you.

10. Cooling                               :       Forced air cooling.

11. Operating Environment          :      0°C to +50°C

12.  Terminals                            :      Banana socket(s) at front panel .

SPECIFICATIONS FOR 48V/10A BATTERY CHARGER

1. Model no                              :      UE-ABC-4810.

2. Mains input                           :      230V, ±10%, 50Hz, Single phase.

3. Line Regulation                      :      ±0.1% max. Output Voltage for ± 10% change

in mains Input Voltage.

4. Load Regulation                     :      ±0.1% max. Output Voltage for No-load

to full load or Vice-versa.

5. Ripple                                   :      Less than 100mV R.M.S.

6. Protections                            :      a) Unit is protected by input fuse,

b) Unit is protected against input surges,

c) Output is protected against over loads &

Continuous short circuits.

7. Indication(s)                         :      a) One LED for input,

b) One LED each for output,

c) One 3½ digit digital panel meter is

provided to read output voltage,

d) One 3½ digit digital panel meter is

provided to read output current.

8. Controls                                :      One ON/OFF switch to ON/OFF the Unit.

9. Mechanical                            :       Bench top / 19” Rack Mounting as

required by you.

10. Cooling                               :       Forced air cooling.

11. Operating Environment          :      0°C to +50°C

12.  Terminals                            :      Banana socket(s) at front panel .

SPECIFICATIONS FOR 24V/4A SMPS BATTERY CHARGER

1. Model no                              :      .

2. Mains input                           :      230V, ±10%, 50Hz, Single phase.

3. Line Regulation                      :      ±0.1% max. Output Voltage for ± 10% change

in mains Input Voltage.

4. Load Regulation                     :      ±0.1% max. Output Voltage for No-load

to full load or Vice-versa.

5. Ripple                                   :      Less than 100mV R.M.S.

6. Protections                            :      a) Unit is protected by input fuse,

b) Unit is protected against input surges,

c) Output is protected against over loads &

Continuous short circuits.

7. Indication(s)                         :      a) One LED for input,

b) One LED each for output,

c) One 3½ digit digital panel meter is

provided to read output voltage,

d) One 3½ digit digital panel meter is

provided to read output current.

8. Controls                                :      One ON/OFF switch to ON/OFF the Unit.

9. Mechanical                            :       Bench top / 19” Rack Mounting as

required by you.

10. Cooling                               :       Forced air cooling.

11. Operating Environment          :      0°C to +50°C

12.  Terminals                            :      Banana socket(s) at front panel .

SPECIFICATIONS FOR 24V/20A BATTERY CHARGER

1. Model no                              :      UE-SMPS-2420.

2. Mains input                           :      230V, ±10%, 50Hz, Single phase.

3. Line Regulation                      :      ±0.1% max. Output Voltage for ± 10% change

in mains Input Voltage.

4. Load Regulation                     :      ±0.1% max. Output Voltage for No-load

to full load or Vice-versa.

5. Ripple                                   :      Less than 100mV R.M.S.

6. Protections                            :      a) Unit is protected by input fuse,

b) Unit is protected against input surges,

c) Output is protected against over loads &

Continuous short circuits.

7. Indication(s)                         :      a) One LED for input,

b) One LED each for output,

c) One 3½ digit digital panel meter is

provided to read output voltage,

d) One 3½ digit digital panel meter is

provided to read output current.

8. Controls                                :      One ON/OFF switch to ON/OFF the Unit.

9. Mechanical                            :       Bench top / 19” Rack Mounting as

required by you.

10. Cooling                               :       Forced air cooling.

11. Operating Environment          :      0°C to +50°C

12.  Terminals                            :      Banana socket(s) at front panel.

.

SPECIFICATIONS FOR 20-32V/600WATTS SMPS POWER SUPPLY

1. Model no                              :      UE-SMPS-2030.

2. Mains input                           :      230V, ±10%, 50Hz, Single phase.

3. Line Regulation                      :      ±0.1% max. Output Voltage for ± 10% change

in mains Input Voltage.

4. Load Regulation                     :      ±0.1% max. Output Voltage for No-load

to full load or Vice-versa.

5. Ripple                                   :      Less than 100mV R.M.S.

6. Protections                            :      a) Unit is protected by input fuse,

b) Unit is protected against input surges,

c) Output is protected against over loads &

Continuous short circuits.

7. Indication(s)                         :      a) One LED for input,

b) One LED each for output,

c) One 3½ digit digital panel meter is

provided to read output voltage,

d) One 3½ digit digital panel meter is

provided to read output current.

8. Controls                                :      One ON/OFF switch to ON/OFF the Unit.

9. Mechanical                            :       Bench top / 19” Rack Mounting as

required by you.

10. Cooling                               :       Forced air cooling.

11. Operating Environment          :      0°C to +50°C

12.  Terminals                            :      Banana socket(s) at front panel.