TECHNICAL SPECIFICATIONS FOR 24V/50A  SOLAR CHARGE CONTROLLER WITH LOAD

a)  Nominal Voltage			: 	12V or 24V DC

b)  Max. Charging current		:	50A

c)  Deep Discharge protection	:	10.5V/21.0V

d)	Over Charge Protection		:	14.4V/28.8V

e)  Restart Of Charging		:	12.5V/25V

f)   Reconnection of Load 		:	12.5V/25V

g)  Output load current		:	10A Max.

h)  Battery AH Rating		          :	100AH Max.

i)   Solar Panel				:	120Watts Max.

j)  Operating Temp.			:	500 C

k)  Self Consumption		         :	25ma

TECHNICAL SPECIFICATIONS FOR 24V/75A  SOLAR CHARGE CONTROLLER WITH LOAD

a)  Nominal Voltage			: 	12V or 24V DC

b)  Max. Charging current		:	75A

c)  Deep Discharge protection	:	10.5V/21.0V

d)	Over Charge Protection		:	14.4V/28.8V

e)  Restart Of Charging		:	12.5V/25V

f)   Reconnection of Load 		:	12.5V/25V

g)  Output load current		:	10A Max.

h)  Battery AH Rating		          :	100AH Max.

i)   Solar Panel				:	120Watts Max.

j)  Operating Temp.			:	500 C

k)  Self Consumption		         :	25ma